## Slide 1: Russian Federation: wine testing
Session 6: Roundtable “To what Standard are the Wine Laboratories involved in Wine Import and Export Testing in your Economy Accredited”
National Convention Center”
May 12, 2017

## Slide 2
National accreditation body of the Russian Federation:
Federal Service for Accreditation (RusAccreditation) - http://www.fsa.gov.ru
Accreditation of an laboratory is necessary only for the performing of work in the
field of confirmation of compliance
For activity implementation in the field of confirmation of wine compliance the scope of accreditation of laboratory should include wine, analysis methods which extend on wine and alcoholic products as well as links to relevant legislative documents
Accreditation and function of testing laboratories

## Slide 3
Accreditation and function at the national level in accordance with the Interstate Standard GOST ISO/IEC 17025-2009
Acts of the Eurasian Economic Union (EAEU)
Federal Laws of the Russian Federation (basic law – “On accreditation in National System of Accreditation” of December 28, 2013, # 412-ФЗ)
Decrees of the President of the Russian Federation (basic decree – “On Unified National System of Accreditation” of January 24, 2011, # 86)
Resolutions of the Government of the Russian Federation (14 normative acts)
Orders of the Ministry of Economy and Development of the Russian Federation (34 normative orders)
Accreditation and function of testing laboratories:
basic documents
Document’s database at the web page of the Federal Service for Accreditation (Rosakkreditazya): http://fsa.gov.ru/index/staticview/id/49/

## Slide 4
Accredited laboratory performs the wine testing according to the requirements of the Technical Regulations of the EAEU:
• TP TC 021/2011 “Food Safety”
• TP TC 029/2012) “Food additives, flavourings & processing aids”
There are lists of prescribed methods for each Technical Regulations (including methods for wine testing:
• List with methods for the TP TC 021/2011 according to the Decision of the
Commission of the Customs Union of December 09, 2011, # 880 (Moscow),
• List with methods for the TP TC 029/2012 according to the Decision of the
Eurasian Economic Commission of October 02, 2012, # 258 (Moscow).
Wine testing:
basic documents
Document’s database at the web page of the Eurasian Economic Commission (EEK): http://eec.eaeunion.org/ru/act/texnreg/deptexreg/tr/Pages/TRVsily.aspx

## Slide 5
Analytical methods should have the status of national standards of the Members of the EAEU or the status of the CIS interstate standards (e.g. GOST R – National standard of the Russian Federation; GOST – Interstate CIS standard)
Accredited laboratory performs the wine testing for following obligatory minimum list of parameters (“Testing of wine safety”):
lead, cadmium, arsenic, mercury, total sulfur dioxide, sorbic acid/sorbates
Test report used for registration of Declaration of compliance should contain the results of the analysis of the parameters specified by the obligatory minimum list
Wine testing:
basic methods
Document’s database at the web page of the Federal Agency on Technical Regulation and Metrology (Rosstandart): http://gost.ru

## Slide 6
# | Parameter | Maximum limit | Approved test method (standard) | Principle of the test method
1 | Lead (Pb), mg/kg | 0.3 | GOST 30178-96 | AAS
2 | Arsenic (As), mg/kg | 0.2 | GOST R 51766-01 | AAS
3 | Cadmium (Cd), mg/kg | 0.03 | GOST 30178-96 | AAS
4 | Mercury (Hg), mg/kg | 0.005 | GOST 26927-86 | Colorimetric determination (as copper tetraiodomercurate) / AAS
5 | Total sulfur dioxide (SO2), mg/dm3 | 300.0 (according to product type) | GOST 32115-2013 | Oxidation of sulfurous acid by iodine
6 | Sorbic acid/sorbates | According to the relevant GOST or GOST R standards for specific groups of wines & wine products | GOST 26181-84 | Spectrophotometry
Mandatory short list of parameters: Safety
all kind of wine & wine products
declaration of compliance
participants: Federal Customs Service (FTS), importers, certification bodies, ISO accredited test labs
frequency of testing: each time for shipment or once per contract (e.g. in case of serial production)

## Slide 7
# | Parameter | Limits | Approved test method (standard) | Principle of the test method
1 | Ethanol, % vol. | 8.5-22.0 | GOST 32095-2013 | Areometry after distillation
2 | Sugars, g/dm3 | According to product type | GOST 13192-73 | Bertrand's method/ Direct titration with Feling’s reagent
3 | Organoleptic properties | According to product type | GOST 32051-2013 | Organoleptic testing
4 | CO2 pressure | Sparkling wines | GOST 12258-79 | Aphrometer
Additional list of parameters: Quality (identification)
all kind of wine & wine products
declaration of compliance
participants: Federal Customs Service, importers, certification bodies, ISO accredited test labs
frequency of testing: each time for shipment or once per contract (e.g. in case of serial production)

## Slide 8
# | Parameter | Maximum limit | Approved test method (standard) | Principle of the test method
1 | Pesticides | According to general regulations | GOST R 53971-2010 | Capillary electrophoresis
2 | Phthalates | 0.1 μg/l, 6 μg/l | MUK 4.1.738-99 | GC-MS
Extended list of parameters: Safety
all kind of wine & wine products
state control & supervision of goods on the market & production
participants: Federal Service for Customers’ Rights Protection and Human Well-Being Supervision (Rospotrebnadzor) & ISO accredited labs of the Rospotrebnadzor, producers, trade organizations, consumers
frequency of testing: scheduled inspections - once per 3 years & company according to the published plans/not scheduled inspections – day notification/according to complaints

## Slide 9
# | Parameter | Limits | Approved test method (standard) | Principle of the test method
1 | Citric acid | According to the relevant GOST or GOST R standards for specific groups of wines & wine products | GOST 32113-2013 | Enzymatic
2 | Titrable acids (as tartaric acid) |  | GOST 32114-2013 | Titration (pH 7.0)
3 | Volatile acids (as acetic acid) |  | GOST 32001-2012 | Titration after distillation
4 | Normalized extract |  | GOST 32000-2012 | Pycnometry
5 | Iron |  | GOST 13195-73/ GOST R 51823-2001 | Colorimetry/Inverse voltamperometry
6 | CO2 pressure |  | GOST 12258-79 | Aphrometer
7 | Ratio of carbon isotopes 13C/12C (wine ethanol & sugars) | GOST 32710-2014 | GOST 32710-2014 | IRMS/SIRA
Extended list of parameters: Quality (identification)
all kind of wine & wine products
state control & supervision of goods on the market & production
participants: Federal Service for Alcohol Market Regulation (Rosalcoholregulirovanye) & ISO accredited lab of the Rosalcoholregulirovanye, Federal Service for Customers’ Rights Protection and Human Well-Being Supervision (Rospotrebnadzor) & ISO accredited labs of the Rospotrebnadzor, producers, trade organizations, consumers
frequency of testing: scheduled inspections - once per 3 years & company according to the published plans/not scheduled inspections – day notification/according to complaints

## Slide 10
Acceptance of test reports of Russian Labs accredited according to the standard GOST ISO/MEK 17025-2009:
actual state - acceptance of test reports of ISO accredited labs from the EAEU only
Federal Service for Accreditation (Rosakkreditazya):
• since Mai 2013 – associated member in the ILAC
• since December 2015 - member in the APLAC
bilateral memorandums of cooperation with 14 countries, including one APEC economy – Viet Nam (main topics of the cooperation - informational and analytical exchange, training and skills development)
Databases at the web pages of the Federal Agency for Accreditation (Rosakkreditazya), ILAC & APLAC: http://fsa.gov.ru/index/staticview/id/268/, http://ilac.org/ilac-membership/members-by-category/,
https://aplac.org/membership_by_category.html

## Slide 11
THANK YOU FOR ATTENTION