## Slide 1: Proposal: Results from ISO17025 laboratories be accepted in destination market.
Dr Eric Wilkes
The Australian Wine Research Institute

## Slide 2: Tbilisi Principles
One of the Tbilisi principles is the requirement that the analysis for wine certification is carried out by accredited laboratories.
Accreditation. Governments should ensure that the analyses of wine that they require to demonstrate compliance with regulatory limits are undertaken by accredited laboratories complying with international standards (or overseen by certified analysts).
This principle can be extended to the concept of accepting that the testing of wine can take place in laboratory outside of the destination economy provided that it is done by a suitably accredited facility.

## Slide 3: Increased costs and delays
The requirement for a wine to be tested within the importing economy leads to a number of issues.
It can add significant delays to the importation of product and put quality at risk if there are delays at freight entry points.
If a product is found to have failed to meet regulatory requirements locally the product must be returned to its destination or destroyed.
In the case of a dispute between a local testing facility and producer concerning compliance with analytical values it can take significant time and be difficult to reach a resolution.
If the product can be tested for compliance reliably in the economy it was produced then it provides certainty for both the importing economy and the producer and allows the free flow of goods.

## Slide 4: A question of trust
For a destination economy to accept results from outside its jurisdiction it is reasonable it needs to be confident that the results provided;
Are fit for purpose and valid for the goods being considered for import
Are of of a quality suitable to answer the requirements of any regulatory limits
Are truthful and not unduly influenced by the producer or their agents
In the realm of laboratory testing there is an international accreditation scheme which addresses these very issues.
ISO/IEC 17025:2017
General requirements for the competence of testing and calibration laboratories

## Slide 6: ISO/IEC 17025
“ISO/IEC 17025 enables laboratories to demonstrate that they operate competently and generate valid results, thereby promoting confidence in their work both nationally and around the world. It also helps facilitate cooperation between laboratories and other bodies by generating wider acceptance of results between countries. Test reports and certificates can be accepted from one country to another without the need for further testing, which, in turn, improves international trade.”
https://www.iso.org/home/standards/popular-standards/isoiec-17025-testing-and-calibra.html

## Slide 7: Quality of analysis
The above requirements go well beyond just following a standard method.
1 ISO/IEC 17025:2017(E)
7.2.1.5 The laboratory shall verify that it can properly perform methods before introducing them by ensuring that it can achieve the required performance….1
7.2.2.1 The laboratory shall validate non-standard methods, laboratory-developed methods and standard methods used outside their intended scope or otherwise modified…..1
Before an ISO 17025 laboratory can consider doing a specific analysis it must meet the following requirements.

## Slide 8: Quality of analysis
ISO 17025 laboratories are required to validate that they can perform analysis to the level required, including for standard methods defined by the end user.
This process includes;
Comparison to known results
Testing the impact of laboratory conditions and individual analysis
Testing in the specific matrices under investigation
Testing the accuracy and precision of the method
Constant quality assurance testing
Ongoing internal and external audits
Ongoing comparison to other laboratories

## Slide 9: Suitability for requirements
ISO 17025 laboratories must demonstrate for their individual laboratory the measurement of uncertainty for each particular analysis and make it available with the results.
This allows any authority reviewing the results to assess if they are fit for the purpose required.
“7.6.1 Laboratories shall identify the contributions to measurement uncertainty. When evaluating measurement uncertainty, all contributions that are of significance, including those arising from sampling, shall be taken into account using appropriate methods of analysis.”1

## Slide 10: Impartial results free from undue influence
Even in laboratories owned by producers the laboratory must demonstrate the impartiality of its results
“4.1.1 Laboratory activities shall be undertaken impartially and structured and managed so as to safeguard impartiality.”
4.1.3 The laboratory shall be responsible for the impartiality of its laboratory activities and shall not allow commercial, financial or other pressures to compromise impartiality.
This level of impartiality is continually tested by comprehensive audit trails of analytical results.

## Slide 11: It does not end there
The requirements for accreditation of analysis to ISO 17025 goes well beyond just the few examples provided in previous slides.
They include requirement for:
Suitability of facilities
Record keeping and traceability
Training and competence of staff
Calibration systems
Complaints and non-conforming results
Sample handling and storage
Reporting of results
Overall the process is meant to ensure that the end user can have total faith in the results.

## Slide 12: In Summary
As can be seen from the above the controls mandated by the ISO 17025 standard do ensure that results from accredited facilities:
  Are appropriate for the product in question (validated analysis).
  Are of a demonstrated quality and fit for purpose (have defined uncertainty of measurement).
  And are impartial and free from undue influence.
Given these rigorous criteria it would seem appropriate, if analytical testing certificates are deemed necessary, that economies accept results from ISO 17025 accredited facilities at the point of origin without the need for further testing in the destination economy.