## Slide 1: Case Study: Chemist Certification Program of Alcohol and Tobacco Tax and Trade Bureau (TTB) November 5, 2013

## Slide 2: TTB Chemist Certification
Overview of Certificates of Analysis
How TTB Chemist Certification program works
Results from the Certification program
What about ISO 17025?
What are the alternatives to ISO 17025 Certification?
Summary
2

## Slide 3: Certificates of Analysis Needed
Certificates of Analysis (COAs) are currently required as a condition of entry in many markets.
COAs need to be valid
COAs need to be generated:
  Efficiently
  Economically
3

## Slide 4: Requirements for Certificates of Analysis
4
Validity
  Generating Laboratory/Chemist should be qualified/certified/accredited.
  Options
    3rd party accredited
    Government accredited
  Analysis Methods
    Data is compared to TTB’s values (which are generated by validated methods)
4

## Slide 5: Requirements for Certificates of Analysis
5
Efficient/Economical
  Number of samples received by the laboratory generating COAs must be within the capacity of the lab.
  The sample transportation and analysis costs must be reasonable, including for small or mixed lot shipments.
  The turnaround time for the COAs must be quick enough to not slow down trade.
5

## Slide 6: Solution— TTB Chemist Certification Program
Allows qualified and certified chemists in winery laboratories to generate Certificates of Analysis (COAs) under TTB supervision.
6

## Slide 7: How the Program Works
Described in TTB Procedure 2010-1
Managed by the TTB Scientific Services Division (SSD, which is ISO 17025 Accredited) for wine, beer and DS
Administered by Chemists with advanced degrees (Masters and Ph.D.s)
Available to Qualified Individuals in Qualified Laboratories at no cost
ISO Accredited Laboratories Accepted
  For ISO accredited labs, all analyses must be under their scope of ISO
2 Year Certification, 2 cycles per year
7

## Slide 8: How the Program Works
Certification is based on:
Education
    A Bachelor’s degree in chemistry; or
    A Bachelor’s degree in any physical, chemical, or biological science and at least 30 credits of chemistry; or
    A Bachelor’s degree in enology.
Access to adequate laboratory equipment and facilities.
Successful analysis of 2 wine samples per certification cycle.
8

## Slide 9: How the Program Works
TTB Staff members prepare and bottle wines to be analyzed, spiking analytes when necessary.
Samples are analyzed by multiple TTB lab staff, using various methods of analysis, when applicable (e.g., Volatile Acidity).
A statistical analysis is performed on the data to develop acceptable ranges of results for chemists seeking certification.
9

## Slide 10: How the Program Works
Samples are sent to applicants for analysis of:
10
Commonly Required Export Analyses | 
Alcohol | Total Sulfur Dioxide
Total Extract | Sorbic Acid
Total Acidity | Methanol
Volatile Acidity | Residual Sugars (expressed as Glucose + Fructose)
Citric Acid | 

## Slide 11: How the Program Works
TTB Mandates a Verification of Information Statement:
  “(Name of qualified laboratory with an applicant seeking certification) authorizes TTB to verify by inspection or otherwise the laboratory’s premises and equipment, documents related to training and demonstration of competency on the methods associated with this application for certification.”
  “(Name of Applicant) declares, under penalties of perjury, that the information provided to TTB is true and correct.”
11

## Slide 12: Results from the Program
In Spring 2013, the Program had 55 total applicants
20 applicants were first time
There were 3 failures based on educational requirements
There were 20 failures based on data (either no data submitted or outliers)
12

## Slide 13: How the Program Works
13
Method | # of Values | Red Wine |  | White Wine | 
 |  | Average (g/100mL) | Precision (SD) | Average (g/100mL) | Precision (SD)
Astoria-Pacific/SFA | 9 | 0.091 | 0.003 | 0.046 | 0.002
Cash Still-AOAC964.08 | 18 | 0.085 | 0.008 | 0.045 | 0.008
Enzymatic | 2 | 0.080 | 0.005 | 0.038 | 0.004
FTIR | 2 | 0.086 | 0.001 | 0.050 | 0.001
HPLC | 1 | 0.093 | N/A | 0.047 | N/A
WineScan | 1 | 0.082 | N/A | 0.039 | N/A
GC Acetic Acid | 1 | 0.102 | N/A | 0.063 | N/A
E.g. Evaluating Volatile Acidity data: 2010

## Slide 14: What about ISO 17025?
14
There are only a handful of US winery laboratories that are ISO 17025 accredited.
  Direct cost of accreditation
  Indirect costs for compliance
The TTB Chemist Certification system is successful in allowing smaller wineries to produce reliable export analysis data without the expense of ISO accreditation.

## Slide 15: What about ISO 17025?
What are some of the costs?
  Initial site assessment by certifying body
  2-Year surveillance assessments
  Fees for Proficiency Testing programs
  Training of staff to the ISO 17025 Standard
  Additional Record-keeping required by ISO
  Additional Quality Assurance practices
  Additional staff to fulfill ISO requirements
  Documentation, training, system upkeep
15

## Slide 16: What about ISO 17025?
It is estimated that the costs for a small-to-medium sized laboratory to maintain ISO 17025 certification would be $15,000 to $20,000 USD, per year, in addition to the initial cost of certification.
This means higher costs for the winery, which are passed on to trading partners.
16

## Slide 17: Alternatives to ISO 17025 Accreditation
What are the alternatives to a laboratory being ISO 17025 accredited?
  Send samples to an ISO 17025 Accredited Lab
  Send samples to the TTB for analysis
  Have a TTB Certified Chemist on staff
17

## Slide 18: Alternatives to ISO 17025 Certification
1. Send samples to an ISO 17025 Certified Lab
18
One of the Top 10 US wineries currently generates approximately 800 COAs per year.
Analysis panels for typical markets cost from $175 to $400 USD per sample.
This results in analysis costs of $140,000 to $320,000 plus all shipping and administrative costs. In-house analysis costs far less.
Any increase in analysis costs ends up being passed on to trading partners.

## Slide 19: Alternatives to ISO 17025 Certification
According to data collected by the California Wine Institute, over 47 million cases of wine were exported in 2012.
Approximately 2/3 of these wines were sent to countries requiring COAs.
The average shipment was 1000 cases.
This would result in nearly 32,000 COAs
  (all data from www.wineinstitute.org)
19
2. Send samples to the TTB for analysis

## Slide 20: Alternatives to ISO 17025 Certification
TTB does not have the resources
The costs for shipping these 32,000 samples would be roughly $320,000 (plus admin. costs)
These 32,000 additional samples submitted to the TTB would increase their workload by a factor of more than 20. (Source: TTB presentation, 2011)
This will increase costs at a time when government spending is being scrutinized.
Sending samples out for analysis will slow down the process of trade, resulting in delays.
20
2. Send samples to the TTB for analysis (cont’d)

## Slide 21: Alternatives to ISO 17025 Certification
Chemists can analyze samples prior to offering for sale to ensure that the wines meet all legal requirements of the importing country.
No need for shipping of samples (or the associated administrative costs).
Many analyses have already been run as quality control measures for the wine, so there is no need to incur the expense of re-analyzing it.
21
3. Have a TTB-Certified Chemist on staff

## Slide 22: Alternatives to ISO 17025 Certification
COAs can be prepared at little or no cost for wines offered for sale. If a sale does not occur, the winery has not incurred the additional expenses.
Laboratories can prepare certificates for export customers in a few hours, rather than a minimum of 3 days when sending samples out for analysis.
22
3. Have a TTB-Certified Chemist on staff (cont’d)

## Slide 23: Summary
TTB operates a very robust and selective Chemist Certification program.
TTB-Certified Chemists work under the authority of the Scientific Services Division.
Certified Chemists are required to demonstrate the quality of their data.
23

## Slide 24: Summary
The TTB-Certified Chemist Program results in:
  Confidence in the quality of chemists and laboratories generating the COA
  Decreased costs for Industry
  Increased speed for document preparation
  Fewer interruptions to trade
This program facilitates trade by enabling efficient and economical COA generation.
The program is successful and growing
24

## Slide 25: Summary
The TTB Certified Chemist Program aligns with the “Twelve Principles for Regulatory Coherence”
  “Analyses of wine for compliance purposes should be undertaken by suitably accredited laboratories (or overseen by certified analysts) that perform acceptably for the specific test methods used.”
25