## Slide 1: Canada’s system for wine regulation Dan Paszkowski Canadian vintners association

## Slide 2: Liquor Board system in Canada
Each of Canada’s 13 Provinces and Territories has a liquor board system
System created under the federal Importation of Intoxicating Liquors Act (1928)
Oversees the control, distribution and sale of beverage alcohol in its jurisdiction
Alberta Gaming and Liquor Commission
British Columbia Liquor Distribution Branch
Liquor Control Board of Ontario
Manitoba Liquor and Lotteries Commission
Northwest Territories Liquor Commission
Newfoundland Labrador Liquor Corporation
New Brunswick Liquor Corporation
Nova Scotia Liquor Corporation
Nunavut Liquor Commission
Prince Edward Island Liquor Control Commission
Saskatchewan Liquor and Gaming Authority
Société des alcools du Québec
Yukon Liquor Corporation

## Slide 3: Quality Assurance: Liquor control BOARD OF oNTARIO (LCBO)
One of the world’s largest beverage alcohol retailers -- >$3.5 billion annual sales
Every product is tasted, tested and certified by the LCBO’s Quality Assurance (QA) department
Conducts more than 510,000 laboratory tests and tastes more than 7,000 products each year
First beverage alcohol laboratory in North America to achieve dual ISO accreditation (ISO/IEC 17025 & ISO 9001:2000) ensuring that its QA Certificate of Analysis is accepted worldwide
Chemical data generated by the LCBO QA laboratory is used by Canadian and international regulatory bodies to establish or confirm safe levels of trace contaminants and food additives
LCBO’s QA laboratory findings are widely used as benchmarks by other Canadian liquor jurisdictions, as well as beverage alcohol producers

## Slide 4: Analytical tests Routinely performed on Wine AND OTHER ALCOHOLIC BEVERAGES in Canada (Domestic & Imported)
Analysis | Wine & Cider | Beer & Sake | Spirits (standardized) | Non-standardized products
Alcohol | X | X | X | X
Free SO2 | X |  |  | 
Total SO2 | X | X |  | 
Sugar | X | X | Vodka & liqueurs | 
Sorbic Acid | X | X |  | Coolers
Potassium Ferrocyanide | X | X | Spirits from pitted fruits | Products from pitted fruits
Volatile Acidity | X | X |  | 
Ethyl Carbamate | X | X | X | X
Arsenic | X | X |  | Wine or beer based products
Lead | X | X | X | X
Synthetic Dyes |  |  |  | All coloured products
Pesticides | X | X |  | Wine & beer based coolers
Methanol |  |  | X | Distillate based products
Thujone |  |  |  | Products containing wormwood
Ochratoxin A | X | X |  | Wine and beer based coolers

## Slide 5: Purpose for Analytical Tests
Analytical tests confirm that the products are:
safe to consume
authentic
meet the federal standards set out in:
  Canada’s Food and Drugs Act and regulations
  Consumer Packaging and Labelling Act and regulations

## Slide 6: Accredited Laboratories
Provincial and Territorial liquor control boards will accept test reports from accredited laboratories in exporting countries
Vendors may supply their own Certificate of Analysis providing that it is produced by an ISO/IEC 17025 accredited laboratory for the analysis being reported and covers every test required
Required Laboratory Information
The Certificate of Analysis should reference the following:
• The laboratory's ISO/IEC 17025 accreditation
• The name of the laboratory's accreditation registrar
If this information is not on the certificate, it must accompany the certificate to verify the laboratory's accreditation

## Slide 7: Test Methods
Test | Test Method
Alcohol | Near Infrared Spectroscopy (NIR) or Gas Chromatography – Flame Ionization Detector (GC-FID)
Heavy Metals | Inductively coupled plasma mass spectrometry (ICP-MS)
Ethyl Carbamate | Gas Chromatography - Mass Spectrometry (GC-MSD)
Pesticides | Gas Chromatography - Mass Spectrometry (GC-MSD)
Ochratoxin A | High-Performance Liquid Chromatography with Fluorescence Detection (HPLC-FD)
Volatile Acidity | Segmented Continuous Flow
Free and Total SO2 | Segmented Continuous Flow
Sorbic Acid | Segmented Continuous Flow
Total Reducing Sugars | Segmented Continuous Flow
Total Acidity | Segmented Continuous Flow

## Slide 8: Public Safety: LCBO
Once a year, a randomly selected sample of active products at the LCBO undergoes chemical analysis, organoleptic assessment and a packaging review at supplier costs
If any chemical, quality or packaging issues with the product arise (i.e., consumer complaints), the product will be reviewed
Products that do not comply may require one or more of the following actions:
• Warehouse stock will be placed on hold
• Store stock may be withdrawn from sale
• A public recall of the product may be issued
• Corrective action may have to be taken to rectify the deficiency by the supplier, at the supplier’s expense

## Slide 9: Non-compliance
Rejection rate over a 12-month period is approximately 11-12%
Corrective action is largely related to correcting labelling deficiencies (e.g., alcohol content and sulphites)
If supplier is responsible for defect or non-compliance, the supplier will be responsible for all costs to remove, dispose or rectify the product deficiency
These costs may include:
• A rebate to reduce the retail price of the product
• Charges to correct packaging or labelling deficiencies
• Destruction of warehouse and/or store stock at supplier's expense

## Slide 10: Thank you!
Thank you!